## 测试用例
时间(min) | 房间1 | 房间2 | 房间3 | 房间4 | 房间5 | 房间1.1 | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | 房间2.1 | Unnamed: 11 | Unnamed: 12 | Unnamed: 13 | 房间3.1 | Unnamed: 15 | Unnamed: 16 | Unnamed: 17 | 房间4.1 | Unnamed: 19 | Unnamed: 20 | Unnamed: 21 | 房间5.1 | Unnamed: 23 | Unnamed: 24 | Unnamed: 25 | Unnamed: 26 | 服务队列 | Unnamed: 28 | Unnamed: 29 | 等待队列 | Unnamed: 31
[6 empty] | 当前 | 目标 | 风速 | 费用 | 当前 | 目标 | 风速 | 费用 | 当前 | 目标 | 风速 | 费用 | 当前 | 目标 | 风速 | 费用 | 当前 | 目标 | 风速 | 费用
| 中央空调启动 |  |  | 检查程序启动，进入设置环节：设置模式和工作温度，然后启动空调服务 | [22 empty] | 以下单元格填入房间号
0 | 开机 |  |  |  |  | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 |  | 101
1 | 18 | 开机 |  |  | 开机 | 30 | 18 | medium | 0.09 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 |  | 101 | 102 | 105
2 |  |  | 开机 |  |  | 30 | 18 | medium | 0.09 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 |  | 101 | 102 | 105 | 103
3 |  | 19 |  | 开机 |  | 30 | 18 | medium | 0.09 | 30 | 19 | medium | 0.18 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 |  | 101 | 102 | 105 | 103 | 104
4 |  |  |  |  | 22 | 30 | 18 | medium | 0.09 | 30 | 19 | medium | 0.18 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 22 | medium | 0.26 |  | 101 | 102 | 105 | 103 | 104
5 | 高 |  |  |  |  | 30 | 18 | high | 0.44 | 30 | 19 | medium | 0.18 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 22 | medium | 0.26 |  | 101 | 102 | 105 | 103 | 104
6 |  | 关机 |  |  |  | 30 | 18 | high | 0.44 | 30 | 19 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 22 | medium | 0.26 |  | 101 | 105 | 103 | 104
7 |  | 开机 |  |  | 高 | 30 | 18 | high | 0.44 | 30 | 19 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 22 | high | 0.52 |  | 101 | 105 | 103 | 102 | 104
8 | [5 empty] | 30 | 18 | high | 0.44 | 30 | 19 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 20 | medium | 0 | 30 | 22 | high | 0.52 |  | 101 | 105 | 103 | 102 | 104
9 | 22 |  |  | 18，高 |  | 30 | 22 | high | 1.14 | 30 | 19 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 18 | high | 0 | 30 | 22 | high | 0.52 |  | 101 | 105 | 103 | 102 | 104
10 | [5 empty] | 30 | 22 | high | 1.14 | 30 | 19 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 18 | high | 0 | 30 | 22 | high | 0.52 |  | 101 | 105 | 103 | 102 | 104
11 |  | 22 |  |  |  | 30 | 22 | high | 1.14 | 30 | 22 | medium | 0.44 | 30 | 20 | medium | 0 | 30 | 18 | high | 0 | 30 | 22 | high | 0.52 |  | 101 | 105 | 103 | 102 | 104
12 |  |  |  |  | 低 | 30 | 22 | high | 1.14 | 30 | 22 | medium | 0.44 | 29.5 | 20 | medium | 0.5 | 30 | 18 | high | 0 | 30 | 22 | low | 1.4 |  | 101 | 105 | 103 | 102 | 104
13 | [5 empty] | 30 | 22 | high | 1.14 | 30 | 22 | medium | 0.44 | 29.5 | 20 | medium | 0.5 | 30 | 18 | high | 0 | 30 | 22 | low | 1.4 |  | 101 | 105 | 103 | 102 | 104
14 | 关机 |  | 24，低 |  |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | low | 0.69 | 30 | 18 | high | 0 | 30 | 22 | low | 1.4 |  | 105 | 103 | 104 | 102
15 |  |  |  |  | 20，高 | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | low | 0.69 | 30 | 18 | high | 0 | 30 | 20 | high | 1.58 |  | 105 | 103 | 104 | 102
16 |  | 关机 |  |  |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | low | 0.69 | 30 | 18 | high | 0 | 30 | 20 | high | 1.58 |  | 105 | 103 | 104
17 |  |  | 高 |  |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 0.87 | 30 | 18 | high | 0 | 30 | 20 | high | 1.58 |  | 105 | 103 | 104
18 | 开机 |  |  | 20，中 |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 0.87 | 30 | 20 | medium | 0.73 | 30 | 20 | high | 1.58 |  | 105 | 103 | 104 | 101
19 |  | 开机 |  |  |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 0.87 | 30 | 20 | medium | 0.73 | 30 | 20 | high | 1.58 |  | 105 | 103 | 104 | 101 | 102
20 |  |  |  |  | 25 | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 0.87 | 30 | 20 | medium | 0.73 | 30 | 25 | high | 2.48 |  | 105 | 103 | 104 | 101 | 102
21 | [5 empty] | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 0.87 | 30 | 20 | medium | 0.73 | 30 | 25 | high | 2.48 |  | 105 | 103 | 104 | 101 | 102
22 |  |  | 关机 |  |  | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 1.77 | 30 | 20 | medium | 0.73 | 30 | 25 | high | 2.48 |  | 105 | 104 | 101 | 102
23 |  |  |  |  | 关机 | 30 | 22 | high | 2.02 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 1.77 | 30 | 20 | medium | 0.73 | 30 | 25 | high | 3.01 |  | 104 | 101 | 102
24 | 关机 |  |  |  |  | 30 | 22 | high | 2.37 | 30 | 22 | medium | 0.44 | 29.5 | 24 | high | 1.77 | 29.5 | 20 | medium | 1.23 | 30 | 25 | high | 3.01 |  | 104 | 102
25 |  | 关机 |  | 关机 |  | 30 | 22 | high | 2.37 | 30 | 22 | medium | 0.62 | 29.5 | 24 | high | 1.77 | 29.5 | 20 | medium | 1.35 | 30 | 25 | high | 3.01
费用小计

## 房间信息
status | temperature | speed | bill | status | temperature | speed | bill | status | temperature | speed | bill | status | temperature | speed | bill | status | temperature | speed | bill
OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0
OK | 0 | medium | 0.0034615 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0
OK | 0 | medium | 0.041712 | OK | 0 | medium | 0.0034488 | OK | N/A | N/A | 0 | OK | N/A | N/A | 0 | OK | 0 | medium | 0.0070123
OK | 0 | medium | 0.080193 | OK | 0 | medium | 0.045543 | OK | 0 | medium | 0 | OK | N/A | N/A | 0 | OK | 0 | medium | 0.038546
OK | 0 | medium | 0.11165 | OK | 0 | medium | 0.066498 | OK | 0 | medium | 0.03157 | OK | 0 | medium | 0 | OK | 0 | medium | 0.070035
OK | 0 | medium | 0.13256 | OK | 0 | medium | 0.097823 | OK | 0 | medium | 0.06295 | OK | 0 | medium | 0.031442 | OK | 0 | medium | 0.090822
OK | 0 | high | 0.15347 | OK | 0 | medium | 0.11864 | OK | 0 | medium | 0.083722 | OK | 0 | medium | 0.0523 | OK | 0 | medium | 0.12235
OK | 0 | high | 0.21094 | OK | 0 | off | 0.13968 | OK | 0 | medium | 0.10467 | OK | 0 | medium | 0.073114 | OK | 0 | medium | 0.13277
OK | 0 | high | 0.27391 | OK | 0 | medium | 0.13968 | OK | 0 | medium | 0.13619 | OK | 0 | medium | 0.094139 | OK | 0 | high | 0.16425
OK | 0 | high | 0.33643 | OK | 0 | medium | 0.15025 | OK | 0 | medium | 0.14647 | OK | 0 | medium | 0.1149 | OK | 0 | high | 0.22669
OK | 0 | high | 0.39909 | OK | 0 | medium | 0.16072 | OK | 0 | medium | 0.15692 | OK | 0 | high | 0.14105 | OK | 0 | high | 0.28947
OK | 0 | high | 0.44637 | OK | 0 | medium | 0.16072 | OK | 0 | medium | 0.15692 | OK | 0 | high | 0.18815 | OK | 0 | high | 0.3522
OK | 0 | high | 0.50879 | OK | 0 | medium | 0.16072 | OK | 0 | medium | 0.15692 | OK | 0 | high | 0.25079 | OK | 0 | high | 0.41492
OK | 0 | high | 0.57166 | OK | 0 | medium | 0.16072 | OK | 0 | medium | 0.15692 | OK | 0 | high | 0.31348 | OK | 0 | low | 0.46197
OK | 0 | high | 0.63462 | OK | 0 | medium | 0.17109 | OK | 0 | medium | 0.18859 | OK | 0 | high | 0.36082 | OK | 0 | low | 0.46197
OK | 0 | off | 0.687 | OK | 0 | medium | 0.17109 | OK | 0 | low | 0.23044 | OK | 0 | high | 0.43943 | OK | 0 | low | 0.46544
OK | 0 | off | 0.687 | OK | 0 | medium | 0.21327 | OK | 0 | low | 0.24092 | OK | 0 | high | 0.48686 | OK | 0 | high | 0.47602
OK | 0 | off | 0.687 | OK | 0 | off | 0.24829 | OK | 0 | low | 0.24443 | OK | 0 | high | 0.54993 | OK | 0 | high | 0.52857
OK | 0 | off | 0.687 | OK | 0 | off | 0.24829 | OK | 0 | high | 0.26015 | OK | 0 | high | 0.61272 | OK | 0 | high | 0.57582
OK | 0 | medium | 0.687 | OK | 0 | off | 0.24829 | OK | 0 | high | 0.32805 | OK | 0 | medium | 0.67536 | OK | 0 | high | 0.65406
OK | 0 | medium | 0.70788 | OK | 0 | medium | 0.24829 | OK | 0 | high | 0.37513 | OK | 0 | medium | 0.69643 | OK | 0 | high | 0.70109
OK | 0 | medium | 0.71833 | OK | 0 | medium | 0.25871 | OK | 0 | high | 0.4379 | OK | 0 | medium | 0.70683 | OK | 0 | high | 0.76397
OK | 0 | medium | 0.73925 | OK | 0 | medium | 0.2694 | OK | 0 | high | 0.50079 | OK | 0 | medium | 0.71733 | OK | 0 | high | 0.82679
OK | 0 | medium | 0.74975 | OK | 0 | medium | 0.29026 | OK | 0 | off | 0.5533 | OK | 0 | medium | 0.73468 | OK | 0 | high | 0.88962
OK | 0 | medium | 0.77755 | OK | 0 | medium | 0.31798 | OK | 0 | off | 0.5533 | OK | 0 | medium | 0.76578 | OK | 0 | off | 0.93115
OK | 0 | off | 0.8157 | OK | 0 | medium | 0.35625 | OK | 0 | off | 0.5533 | OK | 0 | medium | 0.80401 | OK | 0 | off | 0.93115
OK | 0 | off | 0.8157 | OK | 0 | off | 0.39103 | OK | 0 | off | 0.5533 | OK | 0 | off | 0.83885 | OK | 0 | off | 0.93115

## 调度信息
0 | 1 | 2 | 0 | 1
101
102 | 101 | 105
105 | 102 | 103 | 101
104 | 101 | 105 | 102 | 103
105 | 102 | 103 | 104 | 101
102 | 101 | 103 | 104 | 105
103 | 101 | 104 | 105
104 | 101 |  | 102 | 103
105 | 102 | 101 | 103 | 104
105 | 104 | 101 | 102 | 103
101 | 105 | 104 | 102 | 103
104 | 101 | 105 | 102 | 103
104 | 101 | 103 | 105
101 | 103 | 104 | 105 | 102
102 | 105 | 104 | 103
102 | 105 | 104 | 103
103 | 105 | 104
104 | 103 | 105
101 | 103 | 105 | 104
101 | 103 | 105 | 102 | 104
105 | 102 | 103 | 104 | 101
103 | 105 | 104 | 101 | 102
101 | 102 | 105 | 104
102 | 104 | 101
104 | 102